## Consolidated sw
rand | PA Part # | Product Description | QTY | Remarks
Watson | D0GR8ZX | IBM watsonx.ai for IBM Z Virtual Processor Core License + SW Subscription & Support 12Months | 115 | ok
Watson | D0F4VZX | IBM watsonx.data for IBM Z Virtual Processor Core License + SW Subscription & Support 12 Months | 38 | ok
Watson | D0H7EZX | IBM watsonx.governance Model Management for IBM Z Virtual Processor Core License + Software Subscription & Support 12Months | 64 | ok
Watson | D0HB9ZX | IBM watsonx.governance Risk and Compliance Foundation for IBM Z Virtual Processor Core License + Software Subscription & Support 12Months | 2 | ok
Watson | D0HAGZX | IBM watsonx.governance Model Risk Governance for IBM Z Application License + Software Subscription & Support 12Months | 1 | ok
Watson | D1YH6LL | IBM CLOUD PAK FOR DATA ENTERPRISE EDITION PER VIRTUAL PROCESSOR CORE FOR IBM Z LICENSE + SW SUBSCRIPTION & SUPPORT 12 MONTHS | 1 | ok
Db2 | D0AFTZX | IBM Db2 Warehouse Cartridge for IBM Cloud Pak for Data for IBM Z® Virtual Processor Core License + Software Subscription and Support 12 Months | 8 | ok
Cognos | D03GXZX | IBM COGNOS ANALYTICS ADMINISTRATOR CARTRIDGE FOR IBM CLOUD PAK FOR DATA FOR IBM Z AUTHORIZED USER LICENSE + SW SUBSCRIPTION AND SUPPORT 12 MONTHS | 2 | ok
Cognos | D03IAZX | IBM COGNOS ANALYTICS USER CARTRIDGE FOR IBM CLOUD PAK FOR DATA FOR IBM Z AUTHORIZED USER LICENSE + SW SUBSCRIPTION AND SUPPORT 12 MONTHS | 8 | ok
Cognos | D03IRZX | IBM COGNOS ANALYTICS VIEWER CARTRIDGE FOR IBM CLOUD PAK FOR DATA FOR IBM Z AUTHORIZED USER LICENSE + SW SUBSCRIPTION AND SUPPORT 12 MONTHS | 40 | ok
Cognos | D03HDZX | IBM COGNOS ANALYTICS EXPLORER CARTRIDGE FOR IBM CLOUD PAK FOR DATA FOR IBM Z AUTHORIZED USER LICENSE + SW SUBSCRIPTION AND SUPPORT 12 MONTHS | 5 | ok
Watson
Watson | D0GR8ZX | IBM watsonx.ai Perpetual for IBM Z Virtual Processor Core License + SW Subscription & Support 12Months | 1 | ok
Watson | D0F4VZX | IBM watsonx.data for IBM Z Virtual Processor Core License + SW Subscription & Support 12 Months | 1 | ok
Watson | D0H7EZX | IBM watsonx.governance Model Management for IBM Z Virtual Processor Core License + Software Subscription & Support 12Months | 1 | ok
Watson | D0HB9ZX | IBM watsonx.governance Risk and Compliance Foundation for IBM Z Virtual Processor Core License + Software Subscription & Support 12Months | 1 | ok
Watson | D0HAGZX | IBM watsonx.governance Model Risk Governance for IBM Z Application License + Software Subscription & Support 12Months | 1 | ok
CP4D | D1YH6LL | IBM CLOUD PAK FOR DATA ENTERPRISE EDITION PER VIRTUAL PROCESSOR CORE FOR IBM Z LICENSE + SW SUBSCRIPTION & SUPPORT 12 MONTHS | 1 | ok
Db2 | D0AFTZX | IBM Db2 Warehouse Cartridge for IBM Cloud Pak for Data for IBM Z® Virtual Processor Core License + Software Subscription and Support 12 Months | 1 | ok
Watson | D0GRKZX | IBM watsonx.ai Perpetual Non-Production for IBM Z Virtual Processor Core License + SW Subscription & Support 12Months | 115 | ok
Watson | D0F51ZX | IBM watsonx.data Non-Production for IBM Z Virtual Processor Core License + SW Subscription & Support 12 Months | 38 | ok
Watson | D0H7RZX | IBM watsonx.governance Model Management Non-Production for IBM Z Virtual Processor Core License + Software Subscription & Support 12Months | 48 | ok
Watson | D0HBHZX | IBM watsonx.governance Risk and Compliance Foundation Non-Production for IBM Z Virtual Processor Core License + Software Subscription & Support 12Months | 2 | ok
CP4D | D27RPLL | IBM Cloud Pak for Data Enterprise Edition Non-Production for IBM Z Virtual Processor Core License + SW Subscriptn and Support 12 Months | 1
Db2 | D0AFTZX | IBM Db2 Warehouse Cartridge for IBM Cloud Pak for Data for IBM Z® Virtual Processor Core License + Software Subscription and Support 12 Months | 7 | ok
Watson | D0GRKZX | IBM watsonx.ai Perpetual Non-Production for IBM Z Virtual Processor Core License + SW Subscription & Support 12Months | 58 | ok
Watson | D0F51ZX | IBM watsonx.data Non-Production for IBM Z Virtual Processor Core License + SW Subscription & Support 12 Months | 38 | ok
Watson | D0H7RZX | IBM watsonx.governance Model Management Non-Production for IBM Z Virtual Processor Core License + Software Subscription & Support 12Months | 24 | ok
CP4D | D27RPLL | IBM Cloud Pak for Data Enterprise Edition Non-Production for IBM Z Virtual Processor Core License + SW Subscriptn and Support 12 Months | 1 | ok
Db2 | D0AFTZX | IBM Db2 Warehouse Cartridge for IBM Cloud Pak for Data for IBM Z® Virtual Processor Core License + Software Subscription and Support 12 Months | 7 | ok
CP4BA | D20RXLL | IBM CLOUD PAK FOR BUSINESS AUTOMATION ON IBM Z VIRTUAL PROCESSOR CORE LICENSE + SW SUBSCRIPTION & SUPPORT 12 MONTHS | 185 | ok
CP4I | D20ZILL | IBM Cloud Pak for Integration Virtual Processor Core for IBM Z License + SW Subscription & Support 12 Months | 89 | OK
Security | D1L2MLL | IBM Security Verify Access Virtual Enterprise Edition User Value Unit License + SW Subscription & Support 12 Months | 8500 | ok
Instana | D0HT1ZX | IBM Instana Observability Business Monitoring Self-Hosted for Linux on IBM Z Managed Virtual Server LIC + SW S&S 12 MO | 20 | ok
Instana | D29RKLL | IBM Instana Observability Self-Hosted for Linux on IBM Z Managed Virtual Server License + SW Subscription & Support 12 Months | 150 | ok

## watsonx_BoQ
Production / DC Environment
Part # | Descriptions | Quantity
|  | Year 1 | Year 2- Year 7
D0GR8ZX | IBM watsonx.ai for IBM Z Virtual Processor Core License + SW Subscription & Support 12Months | 115 | NA
E0GR7ZX | IBM watsonx.ai for IBM Z Virtual Processor Core Annual SW Subscription & Support Renewal | NA | 115
D0F4VZX | IBM watsonx.data for IBM Z Virtual Processor Core License + SW Subscription & Support 12 Months | 38 | NA
E0F4UZX | IBM watsonx.data for IBM Z Virtual Processor Core Annual SW Subscription & Support Renewal 12 Months | NA | 38
D0H7EZX | IBM watsonx.governance Model Management for IBM Z Virtual Processor Core License + Software Subscription & Support 12Months | 64 | NA
E0H7DZX | IBM watsonx.governance Model Management for IBM Z Virtual Processor Core Annual Software Subscription & Support Renewal | NA | 64
D0HB9ZX | IBM watsonx.governance Risk and Compliance Foundation for IBM Z Virtual Processor Core License + Software Subscription & Support 12Months | 2 | NA
E0HB8ZX | IBM watsonx.governance Risk and Compliance Foundation for IBM Z Virtual Processor Core Annual Software Subscription & Support Renewal | NA | 2
D0HAGZX | IBM watsonx.governance Model Risk Governance for IBM Z Application License + Software Subscription & Support 12Months | 1 | NA
E0HAFZX | IBM watsonx.governance Model Risk Governance for IBM Z Application Annual Software Subscription & Support Renewal | NA | 1
D1YH6LL | IBM CLOUD PAK FOR DATA ENTERPRISE EDITION PER VIRTUAL PROCESSOR CORE FOR IBM Z LICENSE + SW SUBSCRIPTION & SUPPORT 12 MONTHS | 1 | NA
E0PD5LL | IBM Cloud Pak for Data Enterprise Edition per Virtual Processor Core for IBM Z Annual SW Subscription & Support Renewal 12 Months | NA | 1
D0AFTZX | IBM Db2 Warehouse Cartridge for IBM Cloud Pak for Data for IBM Z® Virtual Processor Core License + Software Subscription and Support 12 Months | 8 | 0
E0AFSZX | IBM Db2 Warehouse Cartridge for IBM Cloud Pak for Data for IBM Z Virtual Processor Core Annual Software Subscription and Support Renewal | NA | 8
D03GXZX | IBM COGNOS ANALYTICS ADMINISTRATOR CARTRIDGE FOR IBM CLOUD PAK FOR DATA FOR IBM Z AUTHORIZED USER LICENSE + SW SUBSCRIPTION AND SUPPORT 12 MONTHS | 2 | NA
E03GWZX | IBM Cognos Analytics Administrator Cartridge for IBM Cloud Pak for Data for IBM Z Authorized User SW Subscription and Support Renewal 12 Months | NA | 2
D03IAZX | IBM COGNOS ANALYTICS USER CARTRIDGE FOR IBM CLOUD PAK FOR DATA FOR IBM Z AUTHORIZED USER LICENSE + SW SUBSCRIPTION AND SUPPORT 12 MONTHS | 8 | NA
E03I9ZX | IBM Cognos Analytics User Cartridge for IBM Cloud Pak for Data for IBM Z Authorized User SW Subscription and Support Renewal 12 Months | NA | 8
D03IRZX | IBM COGNOS ANALYTICS VIEWER CARTRIDGE FOR IBM CLOUD PAK FOR DATA FOR IBM Z AUTHORIZED USER LICENSE + SW SUBSCRIPTION AND SUPPORT 12 MONTHS | 40 | NA
E03IQZX | IBM Cognos Analytics Viewer Cartridge for IBM Cloud Pak for Data for IBM Z Authorized User SW Subscription and Support Renewal 12 Months | NA | 40
D03HDZX | IBM COGNOS ANALYTICS EXPLORER CARTRIDGE FOR IBM CLOUD PAK FOR DATA FOR IBM Z AUTHORIZED USER LICENSE + SW SUBSCRIPTION AND SUPPORT 12 MONTHS | 5 | NA
E03HCZX | IBM Cognos Analytics Explorer Cartridge for IBM Cloud Pak for Data for IBM Z Authorized User SW Subscription and Support Renewal 12 Months | NA | 5
DR Environment
D0GR8ZX | IBM watsonx.ai Perpetual for IBM Z Virtual Processor Core License + SW Subscription & Support 12Months | 1 | NA
D0F4VZX | IBM watsonx.data for IBM Z Virtual Processor Core License + SW Subscription & Support 12 Months | 1 | NA
D0H7EZX | IBM watsonx.governance Model Management for IBM Z Virtual Processor Core License + Software Subscription & Support 12Months | 1 | NA
D0HB9ZX | IBM watsonx.governance Risk and Compliance Foundation for IBM Z Virtual Processor Core License + Software Subscription & Support 12Months | 1 | NA
D0HAGZX | IBM watsonx.governance Model Risk Governance for IBM Z Application License + Software Subscription & Support 12Months | 1 | NA
D1YH6LL | IBM CLOUD PAK FOR DATA ENTERPRISE EDITION PER VIRTUAL PROCESSOR CORE FOR IBM Z LICENSE + SW SUBSCRIPTION & SUPPORT 12 MONTHS | 1 | NA
D0AFTZX | IBM Db2 Warehouse Cartridge for IBM Cloud Pak for Data for IBM Z® Virtual Processor Core License + Software Subscription and Support 12 Months | 1 | NA
UAT (Non - Prod) Environment
D0GRKZX | IBM watsonx.ai Perpetual Non-Production for IBM Z Virtual Processor Core License + SW Subscription & Support 12Months | 115 | NA
E0GRJZX | IBM watsonx.ai Perpetual Non-Production for IBM Z Virtual Processor Core Annual SW Subscription & Support Renewal | NA | 115
D0F51ZX | IBM watsonx.data Non-Production for IBM Z Virtual Processor Core License + SW Subscription & Support 12 Months | 38 | NA
E0F50ZX | IBM watsonx.data Non-Production for IBM Z Virtual Processor Core Annual SW Subscription & Support Renewal 12 Months | NA | 38
D0H7RZX | IBM watsonx.governance Model Management Non-Production for IBM Z Virtual Processor Core License + Software Subscription & Support 12Months | 48 | NA
E0H7QZX | IBM watsonx.governance Model Management Non-Production for IBM Z Virtual Processor Core Annual Software Subscription & Support Renewal | NA | 48
D0HBHZX | IBM watsonx.governance Risk and Compliance Foundation Non-Production for IBM Z Virtual Processor Core License + Software Subscription & Support 12Months | 2 | NA
E0HBGZX | IBM watsonx.governance Risk and Compliance Foundation Non-Production for IBM Z Virtual Processor Core Annual Software Subscription & Support Renewal | NA | 2
D27RPLL | IBM Cloud Pak for Data Enterprise Edition Non-Production for IBM Z Virtual Processor Core License + SW Subscriptn and Support 12 Months | 1 | NA
E0QXGLL | IBM Cloud Pak for Data Enterprise Edition Non-Production for IBM Z Virtual Processor Core SW Subscription and Support Renewal 12 Months | NA | 1
D0AFTZX | IBM Db2 Warehouse Cartridge for IBM Cloud Pak for Data for IBM Z® Virtual Processor Core License + Software Subscription and Support 12 Months | 7 | 0
E0AFSZX | IBM Db2 Warehouse Cartridge for IBM Cloud Pak for Data for IBM Z Virtual Processor Core Annual Software Subscription and Support Renewal | NA | 7
Dev/Test (Non - Prod) Environment
D0GRKZX | IBM watsonx.ai Perpetual Non-Production for IBM Z Virtual Processor Core License + SW Subscription & Support 12Months | 58 | NA
E0GRJZX | IBM watsonx.ai Perpetual Non-Production for IBM Z Virtual Processor Core Annual SW Subscription & Support Renewal | NA | 58
D0F51ZX | IBM watsonx.data Non-Production for IBM Z Virtual Processor Core License + SW Subscription & Support 12 Months | 38 | NA
E0F50ZX | IBM watsonx.data Non-Production for IBM Z Virtual Processor Core Annual SW Subscription & Support Renewal 12 Months | NA | 38
D0H7RZX | IBM watsonx.governance Model Management Non-Production for IBM Z Virtual Processor Core License + Software Subscription & Support 12Months | 24 | NA
E0H7QZX | IBM watsonx.governance Model Management Non-Production for IBM Z Virtual Processor Core Annual Software Subscription & Support Renewal | NA | 24
D27RPLL | IBM Cloud Pak for Data Enterprise Edition Non-Production for IBM Z Virtual Processor Core License + SW Subscriptn and Support 12 Months | 1 | NA
E0QXGLL | IBM Cloud Pak for Data Enterprise Edition Non-Production for IBM Z Virtual Processor Core SW Subscription and Support Renewal 12 Months | NA | 1
D0AFTZX | IBM Db2 Warehouse Cartridge for IBM Cloud Pak for Data for IBM Z® Virtual Processor Core License + Software Subscription and Support 12 Months | 7 | 0
E0AFSZX | IBM Db2 Warehouse Cartridge for IBM Cloud Pak for Data for IBM Z Virtual Processor Core Annual Software Subscription and Support Renewal | NA | 7
Please note:
BoQ includes – Sizing considerations, Software BoQ and Hardware recommendations
All the sizing done is for x-86 and with HT enabled – Currently validating with WW leaders for HT on Watsonx parts
It does not include storage BoQ

## Watsonx_HW_Sizing
Production Environment - DC
Purpose | No of Nodes | vCores/ Node | RAM (GB) / Node | GPU's / Node | Disk(GB) / Node | Usable Shared Storage(TB)
Load Balancer | 2 | 8 | 32 | NA | 100 | NA
Bastion / Registry | 1 | 8 | 32 | NA | 1000 | NA
Master Node + Infra | 3 | 8 | 32 | NA | 300 | NA
Worker Nodes (watsonx.data) | 3 | 32 | 256 | NA | 500 | 12
Worker Nodes w/o GPU's (watsonx.ai and watsonx.gov) | 10 | 32 | 256 | NA | 500
Worker Nodes with GPU (watsonx.ai and watsonx.gov) | 2 | 32 | 256 | 4 | 500
Worker Nodes (CP4D - DB2 + Cognos) | 4 | 32 | 256 | NA | 500
DR Environment
Purpose | No of Nodes | vCores/ Node | RAM (GB) / Node | GPU's / Node | Disk(GB) / Node | Usable Shared Storage(TB)
Load Balancer | 2 | 8 | 32 | NA | 100 | NA
Bastion / Registry | 1 | 8 | 32 | NA | 1000 | NA
Master Node + Infra | 3 | 8 | 32 | NA | 300 | NA
Worker Nodes (watsonx.data) | 3 | 32 | 256 | NA | 500 | 12
Worker Nodes w/o GPU's (watsonx.ai and watsonx.gov) | 10 | 32 | 256 | NA | 500
Worker Nodes with GPU (watsonx.ai and watsonx.gov) | 2 | 32 | 256 | 4 | 500
Worker Nodes (CP4D - DB2 + Cognos) | 4 | 32 | 256 | NA | 500
UAT Environment
Purpose | No of Nodes | vCores/ Node | RAM (GB) / Node | GPU's / Node | Disk(GB) / Node | Usable Shared Storage(TB)
Load Balancer | 2 | 8 | 32 | NA | 100 | NA
Bastion / Registry | 1 | 8 | 32 | NA | 1000 | NA
Master Node + Infra | 3 | 8 | 32 | NA | 300 | NA
Worker Nodes (watsonx.data) | 3 | 32 | 256 | NA | 500 | 10
Worker Nodes w/o GPU's (watsonx.ai and watsonx.gov) | 9 | 32 | 256 | NA | 300
Worker Nodes with GPU (watsonx.ai and watsonx.gov) | 2 | 32 | 256 | 4 | 300
Worker Nodes (CP4D - DB2 + Cognos) | 4 | 32 | 256 | NA | 300
Dev/Test Environment
Purpose | No of Nodes | vCores/ Node | RAM (GB) / Node | GPU's / Node | Disk(GB) / Node | Usable Shared Storage(TB)
Load Balancer | 2 | 8 | 32 | NA | 100 | NA
Bastion / Registry | 1 | 8 | 32 | NA | 1000 | NA
Master Node + Infra | 3 | 8 | 32 | NA | 300 | NA
Worker Nodes (watsonx.data) | 3 | 32 | 256 | NA | 300 | 8
Worker Nodes w/o GPU's (watsonx.ai and watsonx.gov) | 2 | 32 | 256 | NA | 300
Worker Nodes with GPU (watsonx.ai and watsonx.gov) | 2 | 32 | 256 | 4 | 300
Worker Nodes (CP4D - DB2 + Cognos) | 3 | 16 | 128 | NA | 300
Hardware Configurations (Prod & DR)
Per Worker node: Intel - 16 Cores , with HT Enabled, 256 GB Memory
Per Master node : Intel - 4 Cores , with HT Enabled, 32 GB Memory
Per Load Balancer node : Intel - 4 Cores , with HT Enabled, 32 GB Memory
Load Balancer : A load balancer is required when using three master nodes. The load balancer distributes the traffic load of the master and proxy nodes, securely isolates the master and compute node IP addresses, and facilitates external communication, including accessing the management console and API or making other requests to the master and proxy nodes.
Bastion node : Intel - 4 Cores , with HT Enabled, 32 GB Memory With connection to public net and also hosting the private mirror registry
Storage : Recommended storage is ODF. https://www.ibm.com/docs/en/cloud-paks/cp-data/4.8.x?topic=planning-storage-considerations Storage cost is not part of this BoQ
Red Hat Open Shift : Version 4.10.0 or later fixes
Refer Documentation for addln details: https://www.ibm.com/docs/en/cloud-paks/cp-data/4.8.x?topic=planning-system-requirements
Please Note: - Additional Infrastructure Components and Licenses to be separately procured for each of the DC, DR and Non Prod environments - The OS for these additional nodes needs to be procured and installed separately - The above components and licenses needed are not part of the CPD License and part codes shared
Please Note: The above sizing is for x-86
Required hardware, software, and storage: https://www.ibm.com/docs/en/cloud-paks/cp-data/4.8.x?topic=planning-system-requirements#rhos-reqs__production https://www.ibm.com/docs/en/cloud-paks/cp-data/4.8.x?topic=requirements-hardware https://www.ibm.com/docs/en/cloud-paks/cp-data/4.8.x?topic=requirements-storage
GPU & Foundation Model Details : https://www.ibm.com/docs/en/cloud-paks/cp-data/4.8.x?topic=setup-adding-foundation-models
Sizing best practices
- Your configuration includes the OpenShift best practice recommendation of 10% overhead on expected computing workloads. Documentation: https://docs.openshift.com/container-platform/4.7/post_installation_configuration/node-tasks.html#rhel-compute-requirements_post-install-node-tasks
- This configuration and license estimate assumes that Intel Hyper-Threading (SMT=2) is ENABLED on the deployed system.
- With Intel Hyper-Threading (SMT=2) enabled, 1 physical core = 2 vCPUs = 1 VPC.
- License calculation will change if Intel Hyper-Threading (SMT=2) is not enabled.
- watsonx sizing is based on internal testing with Intel Hyper-Threading (SMT=2) enabled on x86.
- Avoid using more than 2:1 ratio between vCPUs via virtualization software and physical cores.
- Refer to OpenShift documentation: https://docs.openshift.com/container-platform/4.6/installing/installing_bare_metal/installing-bare-metal.html#minimum-resource-%5B%E2%80%A6%5Dtalling-bare-metal
- Pod request and limit settings: https://ibm.box.com/s/rdbtfxpt9w9ewueptk4nsd8vyrjler8l
Supplemental documentation
Storage type considerations and comparison: https://www.ibm.com/support/knowledgecenter/SSQNUZ_latest/cpd/plan/storage_considerations.html
Minimum hardware requirements by service: https://www.ibm.com/docs/en/cloud-paks/cp-data/latest?topic=requirements-hardware
Power SMT settings: https://www.ibm.com/support/knowledgecenter/SSQNUZ_latest/cpd/install/node-settings.html

## Watsonx_Assumptions
Q # | Question | Sizing considerations
Generic Requirement
1 | Where will be the proposed solution be deployed ? (Op-Prem / Public Cloud - AWS, Azure, GCP, etc.) | On-Prem for Production, UAT, DR On IBM Datacenter for Dev, Test
2 | Kindly confirm the total # of environments to be considered - For e.g. Dev, UAT, Test, Pre-Prod, Prod, DR, etc. ? | On-Prem for Production, UAT, DR On IBM Datacenter for Dev, Test
3 | Do you require isolation of Development and Production environments or will you deploy in a single watsonx.ai cluster ? If yes, describe services and tasks that will be performed in each environment or select from recommended configurations | On-Prem for Production, UAT, DR On IBM Datacenter for Dev, Test
4 | What is the DR strategy - Active/Active or Active/Passive ? | Active / Passive
Large Language Models and Generative AI
Models and Usecases
5 | Please provide a description of use cases - For e.g. Summarization, Q&A with RAG, Classification, Sentiment analysis, Named Entity Recognition, Content Generation, etc. | RAG Structured Summarization Entity Extraction Document Ranking Sentiment Analysis Content Generation
6 | What is the number of concurrent Prompt Lab users ? | 5 (only for Dev/Test, UAT)
7 | What is the number of concurrent requests per second from production applications? | 12(5%)
8 | What is the number of concurrent requests per second from test applications? | 12(5%)
9 | Are there any specific LLM's which your team is planning to use? For e.g. llama-2, flan-ul2, starcoder, granite, etc. | Llama2 Granite flan-ul2
10 | Additonal Sizing Considerations | 1. Sized to support 8 total GPUs. Customer must procure their own GPUs to be used towards FM instances and prompt tuning. 2. 1 GPU dedicated to prompt tuning jobs via the Tuning Studio 3. Remaining 7 GPUs can be allocated in one of the following ways: 3.1 7 small/medium model instances (non llama2-70b-chat), requiring 1 GPU each 3.2 1 llama2-70b-chat model instance (requiring 4 GPUs) + 3 small/medium model instances (requiring 1 GPU each) 4. Support for up to 50 concurrent users in the Prompt Lab
Data Science / AI-ML
Model Development
10 | Total size of the team working on model development | 1 (Dev/Test) 3 each (UAT, Prod)
11 | Concurrent # of data scientists working on model development | 1 (Dev/Test) 3 each(UAT, Prod)
12 | How many vCPU (virtual processor cores) does each data scientists need? (Recommended vCPUs per user is 2-4) | Prod, UAT - 4vCPUs per Data Scientist Dev/Test - 2vCPUs per Data Scientist
13 | How many concurrent users predominantly will use Programming Interface (Jupyter Notebook / R) for model development | 1 (Dev/Test) 3 each(UAT, Prod)
14 | How many concurrent users predominantly will use Drag n Drop (Low-Code) capabilities (SPSS Modeller) for model development | NA
15 | How many concurrent users predominantly will use No-Code /Automated capabilities (Auto-AI) for model development | NA
16 | How many concurrent users predominantly will use tool for data prep | 1 (Dev/Test) 1 each (UAT, Prod)
17 | Dataset size for model building • Approximate number of records for model building (largest data set): • Approximate number of fields for model building: | 16GB (Dev/Test) 32GB(UAT, Prod)
18 | Data source types (databases, Hadoop, flat files, Excel, etc.): | Oracle 19c, Milvus Vector DB 100 GB 100 GB 300 GB unstructured data and 200GB per year growth as per
Model Deployment
19 | How many models are currently deployed into production | 3 Additional 2 models for the remaining 7 years, total 5
20 | Are there batch scoring models or real-time online scoring modles - if both how many each | batch scoring
21 | TPS and Expected response time - For Real Time models | NA
22 | Please describe frameworks (scikit-learn, TensorFlow, etc.) - For Real Time models | NA
23 | How many batch jobs do you need to run in a unit of time (concurrent workload). For e.g. - Need to run 10 jobs daily or 300 jobs in two weeks | 10 jobs daily
24 | Dataset size for scoring • Approximate number of records for scoring (largest data set): • Approximate number of fields for scoring | 50 Records, 50MB
Model Risk Governance
25 | How many models in production and non-production you need to monitor and manage? | Dev/Test - 5 (AI Gov not be factored for Dev/Test environment) UAT, Production - 20
26 | Would these be monitored online or batched? If both, what is the % split between the two modes of monitoring? | Online
27 | For each model, how many explanations you anticipate tracking? | 10
28 | How many users you anticipate to onboard concurrently on the model risk governance platform | Supports up to 10 concurrent users
29 | # of concurrent workflow users | Supports up to 10 concurrent users
30 | Model Execution / runtime environment | IBM Watson Machine Learning runtime environment
31 | Additonal Sizing Considerations | Multi-pod per service 1. For Predictive Models 1.1 Up to 20 models, each with up to 200 features 1.2 10 scores/minute/model for runtime and labelled data each 1.3 Quality, Fairness and Drift monitors used 2. For Generative Models 2.1 Up to 20 Prompt template assets 2.2 Up to 1000 records per evaluation 2.3 Quality, GenAIQ and Drift v2 monitors used
32 | Supporting database for storign metadata for models | DB2 SMP warehouse
Watson Discovery | Watson Discovery
1 | What is the estimated number of documents to be stored in Watson Discovery | NA
2 | What is the estimated size of data to be crawled (GB) | NA
3 | Please specify the number of environments to be considered (Dev/UAT/Prod/DR) | NA
Cognos (Included in CP4D) | Watson Discovery
1 | How many Users would be using the system - break up of Admin/Power Users/read only users | 2 Admin, 8 Power users and 40 viewers . This sizing has been considered based on discussion with IBMC. The number of users will be very low, therefore a custom size below the small t-shirt is considered . Cognos named user licenses have been provided so these licenses can be used named users across all environments.
2 | What is the assumption for no of users "Online" /connected at a given point of time (Concurrent users)
3 | What is the assumption for no of Online users stressing the system with query retrieval at a given point of time
4 | Users break up in terms of Report Creation / Dashboard creation / report consumption activity at a given point of time
5 | Name the source system for Reports /Dashboards
6 | No of Reports and Dashboards with query complexity : Low/Medium/Complex
Workflow | Watson Discovery
1 | Number of Process Instances Per Year | 1500
2 | Number of Users | 250
3 | Percentage YOY Growth | 5%
ODM | Watson Discovery
1 | Total Decision executions per day | This has been sized as discussed with Aditya from IBMC
2 | Transaction per second load on system | This has been sized as discussed with Aditya from IBMC
FileNet | Watson Discovery
1 | Number of documents per day | 20 per application
2 | Avg Size Of Documents | 5 MB
Datacap | Watson Discovery
1 | Number Pages Scanned per day | 5 pages per document, total 100 pages
2 | Avg Size Of Documents | 5 MB
RPA | Watson Discovery
1 | Number of BOT's that would be required ? | As per discussion with IBMC, RPA is considered as scope for this RFP
Note on C28: Visharg Shah:

## CP4BA_BoQ
Part Code | Description | Quantity | Metric
D20RXLL | IBM CLOUD PAK FOR BUSINESS AUTOMATION ON IBM Z VIRTUAL PROCESSOR CORE LICENSE + SW SUBSCRIPTION & SUPPORT 12 MONTHS | 185 | VPC
|  | Total Cores | Total VPC
| BAW | 12 | 50
| ODM | 14 | 55
| FileNet | 16 | 60
| Datacap | 12 | 16
| RPA | NA | 4
| TOTAL |  | 185

## CP4BA Assumptions
Refer attached PDF

## CP4BA_HW_Sizing
BAW
Environment | Components | Cores Per Node | Number of Nodes | Total Memory (GB) | Total Cores | Total Storage in GB
Production | BAW Server | 2 | 2 | 8 | 4 | 1000
| http Server | 2 | 2 | 8 | 4 | 250
| Database | 4 | 2 | 48 | 8 | 1000
UAT | BAW Server | 1 | 2 | 4 | 2 | 250
| http Server | 1 | 2 | 2 | 2 | 250
| Database | 2 | 1 | 4 | 2 | 250
SIT | BAW Server | 2 | 1 | 4 | 2 | 250
Development | Workflow Center | 4 | 1 | 16 | 4 | 250
DR | BAW Server | 2 | 2 | 8 | 4 | 1000
| http Server | 2 | 2 | 8 | 4 | 250
| Database | 4 | 2 | 48 | 8 | 1000
As per the ask of IBM Consulting, the databases of SIT environments for BAW, ODM FileNet and Datacap will be merged to a single database server to optimize hardware costs.
As per the ask of IBM Consulting, the databases of Development environments for BAW, ODM FileNet and Datacap will be merged to a single database server to optimize hardware costs.
ODM
Environment | Components | Cores Per Node | Number of Nodes | Total Memory (GB) | Total Storage in GB | Total Cores
Production | ODM Decision Server | 2 | 2 | 8 | 500 | 4
| http Server | 2 | 2 | 8 | 250 | 4
| Database | 2 | 2 | 8 | 500 | 4
UAT | ODM Decision Server | 1 | 2 | 4 | 250 | 2
| http Server | 1 | 2 | 4 | 150 | 2
| Database | 1 | 2 | 4 | 250 | 2
SIT | ODM Decision Server | 2 | 1 | 4 | 250 | 2
Development | ODM Decision Center | 4 | 1 | 16 | 250 | 4
| ODM Decision Server | 2 | 1 | 4 | 250 | 2
DR | ODM Decision Server | 2 | 2 | 8 | 500 | 4
| http Server | 2 | 2 | 8 | 250 | 4
| Database | 2 | 2 | 8 | 500 | 4
As per the ask of IBM Consulting, the databases of SIT environments for BAW, ODM FileNet and Datacap will be merged to a single database server to optimize hardware costs.
As per the ask of IBM Consulting, the databases of Development environments for BAW, ODM FileNet and Datacap will be merged to a single database server to optimize hardware costs.
FILENET
Environment | Components | Cores Per Node | Number of Nodes | Total Memory (GB) | Total Cores | Total Storage in GB | File Storage
Production | FileNet CPE | 2 | 2 | 8 | 4 | 1000 | 1 TB
| FileNet CSS | 1 | 2 | 2 | 2 | 500
| FileNet ICN | 1 | 2 | 2 | 2 | 250
| http Server | 2 | 2 | 8 | 4 | 250
| Database | 4 | 2 | 32 | 8 | 1000
UAT | FileNet CPE | 2 | 1 | 4 | 2 | 250 | 100 GB
| FileNet CSS | 1 | 1 | 1 | 1 | 250
| FileNet ICN | 1 | 1 | 1 | 1 | 250
| Database | 2 | 1 | 4 | 2 | 250
SIT | FileNet Server | 2 | 1 | 4 | 2 | 250 | 100 GB
Development | FileNet Server | 2 | 1 | 4 | 2 | 250 | 100 GB
DR | FileNet CPE | 2 | 2 | 8 | 4 | 1000 | 1 TB
| FileNet CSS | 1 | 2 | 2 | 2 | 500
| FileNet ICN | 1 | 2 | 2 | 2 | 250
| http Server | 2 | 2 | 8 | 4 | 250
| Database | 4 | 2 | 32 | 8 | 1000
As per the ask of IBM Consulting, the databases of SIT environments for BAW, ODM FileNet and Datacap will be merged to a single database server to optimize hardware costs.
As per the ask of IBM Consulting, the databases of Development environments for BAW, ODM FileNet and Datacap will be merged to a single database server to optimize hardware costs.
DATACAP
Environment | Components | Cores Per Node | Number of Nodes | Total Memory (GB) | Total Cores | Total Storage in GB | File Storage
Production | IBM Datacap Rulerunner | 2 | 2 | 16 | 4 | 500 | 500 GB
| Datacap Webserver | 2 | 2 | 8 | 4 | 250
| Content Navigator (ICN) | 2 | 2 | 8 | 4 | 250
| IBM Datacap Taskmaster | 2 | 2 | 8 | 4 | 250
| http Server | 2 | 2 | 8 | 4 | 250
| Database | 4 | 2 | 32 | 8 | 500
UAT | IBM Datacap Rulerunner | 2 | 2 | 8 | 4 | 250 | 100 GB
| Datacap Webserver | 2 | 2 | 8 | 4 | 150
| Content Navigator (ICN) | 2 | 2 | 8 | 4 | 150
| IBM Datacap Taskmaster | 2 | 2 | 8 | 4 | 150
| Database | 2 | 2 | 8 | 4 | 250
SIT / Development | IBM Datacap Rulerunner | 4 | 1 | 16 | 4 | 250 | 100 GB
| Datacap Webserver | 4 | 1 | 16 | 4 | 150
| Content Navigator (ICN) | 4 | 1 | 16 | 4 | 150
| IBM Datacap Taskmaster | 4 | 1 | 16 | 4 | 150
| Database | 8 | 1 | 16 | 4 | 250
DR | IBM Datacap Rulerunner | 2 | 2 | 16 | 4 | 500 | 500 GB
| Datacap Webserver | 2 | 2 | 8 | 4 | 250
| Content Navigator (ICN) | 2 | 2 | 8 | 4 | 250
| IBM Datacap Taskmaster | 2 | 2 | 8 | 4 | 250
| http Server | 2 | 2 | 8 | 4 | 250
| Database | 4 | 2 | 32 | 8 | 500
As per the ask of IBM Consulting, the databases of SIT environments for BAW, ODM FileNet and Datacap will be merged to a single database server to optimize hardware costs.
As per the ask of IBM Consulting, the databases of Development environments for BAW, ODM FileNet and Datacap will be merged to a single database server to optimize hardware costs.
RPA
IBM RPA requires Microsoft SQL Server as database which needs to be procured separately.
Environment | Components | vCPU Value | Quantity | Total Memory (GB) | Total Storage in GB | Total vCPU
Production | RPA Environment | 8 | 1 | 16 | 500 | 8
| Attended Bot Agent / Launcher/ Studio/ Unattended Bot Agent/ Vault | 8 | 1 | 40 | 250 | 8
| Database | 4 | 1 | 16 | 500 | 4
UAT | RPA Environment | 4 | 1 | 8 | 250 | 4
| Attended Bot Agent / Launcher/ Studio/ Unattended Bot Agent/ Vault | 4 | 1 | 16 | 150 | 4
| Database | 2 | 1 | 8 | 250 | 2
SIT | RPA Environment | 4 | 1 | 8 | 250 | 4
| Attended Bot Agent / Launcher/ Studio/ Unattended Bot Agent/ Vault | 2 | 1 | 16 | 150 | 2
Database (Single Database Sever between SIT and DEV)
Development | RPA Environment | 4 | 1 | 8 | 250 | 4
| Attended Bot Agent / Launcher/ Studio/ Unattended Bot Agent/ Vault | 4 | 1 | 16 | 150 | 4
| Database | 2 | 1 | 8 | 250 | 2
DR | RPA Environment | 8 | 1 | 16 | 500 | 8
| Attended Bot Agent / Launcher/ Studio/ Unattended Bot Agent/ Vault | 8 | 1 | 40 | 250 | 8
| Database | 4 | 1 | 16 | 500 | 4
For IBM RPA, SIT and Development environments database is combined to optimize hardware cost as per input from IBM Consulting.

## CP4I_BoQ
Y7
Part# | Renewal Part# | Part Details | Total
D20ZILL | E0PPCLL | IBM Cloud Pak for Integration Virtual Processor Core for IBM Z License + SW Subscription & Support 12 Months | 89
Licensing Ratio
https://www.ibm.com/docs/en/cloud-paks/cp-integration/2020.4?topic=installation-licensing
Note - Z Part of CP4I allows the deployment on x86-64 and Zlinux HW. SW and HW Sizing is done basis x86-64 considerations.

## CP4I_Assumption
Assumptions and Considerations |  |  | ACE Scenarios Considered for TPS of 179
Env | 4 Distinct OpenShift Clusters will be considered Cluster 1 - It will be common for Dev/SIT Environment and will be deployed with APIC/ACE/EventStream Capabilities Cluster 2 - It will be common for UAT Environment and will be deployed with APIC/ACE/EventStream Capabilities Cluster 3 - It wil be used only for PROD-DC and will be deployed with APIC/ACE/EventStream Capabilities Cluster 4 - It wil be used only for DR(Passive) and will be deployed with APIC/ACE/EventStream Capabilities VMs(RHEL) External-API-Gateway-DataPower will be deployed on VM based form factor. It will be deployed on RHEL(VM) |  | Scenario | Persist | Msg Size in Bytes | Contingency % | Executions per Second
Env | Only CP4I Component will be deployed on OpenShift Clusters. No other application other than CP4I will be deployed on these OpenShift Clusters, Incase if its deployed on the CP4Is OpenShift cluster then appropriate OpenShift Licenses and sizing should be revised for the workernodes. |  | Large Messaging | Y | 10000 | 20 | 20
Env | PROD-DC and DR will be running Active-Passive |  | File Processing | N | 5000000 | 20 | 20
Env | PROD-DC, DR and UAT OpenShift Clusters are in HA to sustain 1 node failure architecture |  | Transformation with ESQL | Y | 10000 | 20 | 20
Env | Dev/SIT OpenShift cluster is configured with Single MasterNode, Single InfraNode and Single Worker Node configuration. |  | Aggregation | Y | 20000 | 20 | 20
Env | Sizing is done considering 60% CPU Utilization for DC/DR |  | Rest Proxy GET | N | 10000 | 20 | 80
EventStreams | Event Streaming sizing has been done basis T-Shirt Sizing, Dev/SIT and UAT it is single instance, |  | Rest Proxy POST | N | 10000 | 20 | 19
EventStreams | Event Streams in PROD-DC and DR has been considered as Small Size Cluster without Geo Replication
APIC | TPS Consideration - 179 on Year 7. |  | APIC Scenarios Considered for TPS of 179
APIC | External API Gateway will be deployed in DMZ Network Segment and be deployed on VMs (on RHEL) for all the environment |  | Scenario Type | Payload size (KB) | Peak throughput (TPS)
APIC | External API Gateway(DataPower) will be deployed as Non-HA(Single-Instance) for DEV and UAT |  | API-Native-Gateway-Complex-Mapping | 10000 | 20
APIC | External API Gateway(DataPower) will be deployed as HA(3 Instance-Quorum) for PROD-DC and DR Environment. |  | API-Native-Gateway-OAuth | 10000 | 20
APIC | APIC Components Deployment as Single Instance for all the environments (PROD-DC, DR, UAT and DEV/SIT) |  | API-Native-Gateway-Simple-Invoke | 10000 | 139
APIC | Analytics storage factored for only Activity log bytes & rentention for 30 days & with one copy one each node for DC/DR
APIC | API Analytics for Prod-DC and DR is considered as bare minimum considering Analytics will be offloaded to external ELK outside of APIC Cluster.
APIC | API Analytics for DEV/SIT and PROD is considered as bare minimum which may not support Analytics Offloading to external ELK. |  | EventStreams Small Size Cluster - Benchmark (* Note: Messages are 128 bytes) |  | Throughput
App Connect | TPS Consideration - 179 on Year 7. |  | Workload Type | Replicas | msg/sec | MB/sec
App connect | App Connect flows to be deployed with one node failure sustainability architecture to achieve the HA. | Option-1 | Resilient* | 3 | 404210 | 49.3
App Connect | Multiple flows can be deployed under the sizing boundary on App Connect on CP4I | Option-2 | Fast* | 1 | 554670 | 67.7
DR | ACE, ACE-MQ, EventStreams, API gateway & Analytics will be deplyed and running in Active-Passive (PROD-DC/DR)
DR | API manager & Developer Portal will be deployed in passive mode in DR
sizing | x86 HW on intel Xeon Gold 5120 14 core 2.2 Ghz - 2 Socket
Storage | Openshift Supported storage will be purchased separately
Foundational Services | Medium profile considered for CP4I cluster for All the Environments

## CP4I_HW_Sizing
Year # | Environment | Capabilities | Cluster # | Network-Zone | Component-Infra | Node Count / VM Count | vCPU/Node | Memory/Node (In GB) | Internal Storage / Per Node (In GB) | Persistent Storage / Cluster (In TB) | Total vCPU | Total Memory (In GB) | Total Internal Storage (In GB)
Year 1 to 7 year 7 months | Dev/SIT | ACE EventStreams APIC (APIM, API Analytics, API-DevPortal) | Cluster-1 | Trusted-Zone | Master Node | 1 | 8 | 32 | 300 | 1.6 | 8 | 32 | 300 | Single Master Node
[5 empty] | Infra Node | 1 | 8 | 32 | 300 |  | 8 | 32 | 300 | Single Infra Node
[5 empty] | BootStrap | 1 | 8 | 32 | 200 |  | 8 | 32 | 200
[5 empty] | Bastion | 1 | 4 | 16 | 200 |  | 4 | 16 | 200
[5 empty] | Worker Node | 1 | 32 | 128 | 300 |  | 32 | 128 | 300 | Single worker node
|  | APIC-External-Gateway(DataPower Virtual) | VM | DMZ | DataPower(RHEL) | 1 | 4 | 16 | 200 | NA | 4 | 16 | 200
| UAT | ACE EventStreams APIC (APIM, API Analytics, API-DevPortal) | Cluster-2 | Trusted-Zone | Master Node | 3 | 16 | 64 | 300 | 1.75 | 48 | 192 | 900
[5 empty] | Infra Node | 3 | 8 | 32 | 300 |  | 24 | 96 | 900
[5 empty] | BootStrap | 1 | 8 | 32 | 200 |  | 8 | 32 | 200
[5 empty] | Bastion | 1 | 4 | 16 | 200 |  | 4 | 16 | 200
[5 empty] | Worker Node | 3 | 16 | 64 | 300 |  | 48 | 192 | 900
|  | APIC-External-Gateway(DataPower Virtual) | VM | DMZ | DataPower(RHEL) | 1 | 4 | 16 | 200 | NA | 4 | 16 | 200
| DC | ACE EventStreams APIC (APIM, API Analytics, API-DevPortal) | Cluster-3 | Trusted-Zone | Master Node | 3 | 16 | 64 | 300 | 2.3 | 48 | 192 | 900
[5 empty] | Infra Node | 3 | 16 | 64 | 300 |  | 48 | 192 | 900
[5 empty] | BootStrap | 1 | 8 | 32 | 200 |  | 8 | 32 | 200
[5 empty] | Bastion | 1 | 4 | 16 | 200 |  | 4 | 16 | 200
[5 empty] | Worker Node | 3 | 32 | 128 | 300 |  | 96 | 384 | 900
|  | APIC-External-Gateway(DataPower Virtual) | VMs | DMZ | DataPower(RHEL) | 3 | 4 | 16 | 300 | NA | 12 | 48 | 900
| DR | ACE EventStreams APIC (APIM, API Analytics, API-DevPortal) | Cluster-4 | Trusted-Zone | Master Node | 3 | 16 | 64 | 300 | 2.3 | 48 | 192 | 900
[5 empty] | Infra Node | 3 | 16 | 64 | 300 |  | 48 | 192 | 900
[5 empty] | BootStrap | 1 | 8 | 32 | 200 |  | 8 | 32 | 200
[5 empty] | Bastion | 1 | 4 | 16 | 200 |  | 4 | 16 | 200
[5 empty] | Worker Node | 3 | 32 | 128 | 300 |  | 96 | 384 | 900
|  | APIC-External-Gateway(DataPower Virtual) | VMs | DMZ | DataPower(RHEL) | 3 | 4 | 16 | 300 | NA | 12 | 48 | 900

## CP4I_Capabilities
Year 7
vCPU and VPC | vCPU |  |  |  | CP4I VPC(Licenseing Unit)
| IBM DC | RBI DC | RBI DC | RBI DR | IBM DC | RBI DC | RBI DC | RBI DR
| BARE METAL | BARE METAL | BARE METAL | BARE METAL | BARE METAL | BARE METAL | BARE METAL | BARE METAL
Component - ENV --> | DEV/SIT | UAT | DC | DR | DEV/SIT | UAT | DC | DR
ACE(CP4I) | 2 | 4 | 10 | 0 | 3 | 6 | 30 | 0
EventStreams(CP4I) | 4 | 4 | 12 | 0 | 2 | 2 | 12 | 0
API M(CP4I) | 4 | 4 | 4 | 0 | 2 | 2 | 4 | 0
API DEVPORTAL(CP4I) | 2 | 2 | 2 | 0 | 1 | 1 | 2 | 0
API ANALYTICS(CP4I) | 2 | 2 | 4 | 0 | 1 | 1 | 4 | 0
External-DataPower(RHEL) | 4 | 4 | 12 | 0 | 2 | 2 | 12 | 0
| Total - Per Env |  |  |  | 25 |  | 64 | 0
| Total - CP4I VPC |  |  |  | 89
Persistent Storage Required (In TB) | Year 7
Component - ENV --> | DEV/SIT | UAT | DC | DR | NON_DMZ-NETWORK-SEGMENT
ACE | 0.2 | 0.25 | 0.3 | 0.3
ACE-MQ | 0.3 | 0.3 | 0.5 | 0.5
EventStream | 0.2 | 0.2 | 0.3 | 0.3 |  |  | These are bare minimum requirement for storage
API M | 0.3 | 0.3 | 0.3 | 0.3
API DEVPORTAL | 0.2 | 0.2 | 0.2 | 0.2
API ANALYTICS | 0.4 | 0.5 | 0.7 | 0.7
Total Persistent Staoge (In TB) | 1.6 | 1.75 | 2.3 | 2.3
DEV/SIT - Cluster 1 | Y7
Foundational Services | 9 |  |  |  | DEV/SIT - DataPower -VM | Y7
EventStreams | 4 |  |  |  | External-DataPower-CP4I(1 x 4 vCPU) | 4
EventStreams-SupportingComponents | 5 |  |  |  | Total CPUs Required | 4
ACE | 2 |  |  |  | 1 VMs (1 VMs x 4 vCPU) | 4
ACE-MQ | 1
API M(1 x 4 vCPU) | 4
API DevPortal(1 x 2 vCPU) | 2
API Analytics(1 x 2 vCPU) | 2
Total CPUs Required | 29
WorkerNode / 1 | 32
UAT - Cluster 2 | Y7
Foundational Services | 9 |  |  |  | UAT - DataPower -VMs | Y7
EventStreams | 4 |  |  |  | External-DataPower-CP4I(1 x 4 vCPU) | 4
EventStreams-SupportingComponents | 5 |  |  |  | Total CPUs Required | 4
ACE | 4 |  |  |  | 1 VMs (1 VMs x 4 vCPU) | 4
ACE-MQ | 2
API M(1 x 4 vCPU) | 4
API DevPortal(1 x 2 vCPU) | 2
API Analytics(1 x 2 vCPU) | 2
Total CPUs Required | 32
WorkerNode / 3 | 16
DC - Cluster 3 | Y7
Foundational Services | 9 |  |  |  | DC - DataPower -VMs | Y7
EventStreams | 12 |  |  |  | External-DataPower-CP4I(3 x 4 vCPU) | 12
EventStreams-SupportingComponents | 9 |  |  |  | Total CPUs Required | 12
ACE | 10 |  |  |  | 3 VMs (3 VMs x 4 vCPU) | 12
ACE-MQ | 3
API M(1 x 4 vCPU) | 4
API DevPortal(1 x 2 vCPU) | 2
API Analytics(1 x 4 vCPU) | 4
Total CPUs Required | 53
WorkerNode / 3 | 32
DR - Cluster 4 | Y7
Foundational Services | 9 |  |  |  | DR - DataPower - VMs | Y7
EventStreams | 12 |  |  |  | External-DataPower-CP4I(3 x 4 vCPU) | 12
EventStreams-SupportingComponents | 9 |  |  |  | Total CPUs Required | 12
ACE | 10 |  |  |  | 3 VMs (3 VMs x 4 vCPU) | 12
ACE-MQ | 3
API M(1 x 4 vCPU) | 4
API DevPortal(1 x 2 vCPU) | 2
API Analytics(1 x 4 vCPU) | 4
Total CPUs Required | 53
WorkerNode / 3 | 32

## Instana (APM)_BoQ
Instana
Sr No | Components | Part # | Description - Production Environment | Quantity
|  |  |  | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 7.7
1 | IBM Instana APM (Perpetual) | D29RKLL | IBM Instana Observability Self-Hosted for Linux on IBM Z Managed Virtual Server License + SW Subscription & Support 12 Months | Quantity Year 1: 150
2 | IBM Instana APM Yearly Renewal | E0RDCLL | IBM Instana Observability Self-Hosted for Linux on IBM Z Managed Virtual Server Annual SW Subscription & Support Renewal |  | 150 | 150 | 150 | 150 | 150 | 150 | 150
3 | IBM Instana BPM (Perpetual) | D0HT1ZX | IBM Instana Observability Business Monitoring Self-Hosted for Linux on IBM Z Managed Virtual Server LIC + SW S&S 12 MO | Quantity Year 1: 20
4 | IBM Instana BPM Yearly Renewal | E0HSZZX | IBM Instana Observability Business Monitoring Self-Hosted for Linux on IBM Z Managed Virtual Server Annual SW S&S Rnwl |  | 20 | 20 | 20 | 20 | 20 | 20 | 20
Assumptions |  | 150 Managed Virtual Servers / Worker Nodes acrsoo Prod/DC and UAT
DC = 120 and UAT = 30 and 20 Business Processes

## Instana (APM)_HW_Sizing
Tool
Module/Application Component
CENTRALIZED FAULT MANAGEMENT SOLUTION
APM by Instana | Resource |  | Instana (Docker RHEL)
|  |  | DR | UAT
| Master node count |  | 1 | 1
Worker node count
| Total vCPU |  | 32 | 16
| Total memory (GB) |  | 128 | 64
| Total disk (GB) |  | 5632 | 4096
Assumptions | Instana will be deployed across DC and UAT environment (Docker based deployment)
Instana Licensing MVS) and Deployment locations | DC = 50 UAT = 30
TPS for Instana | < 100
Instana Disk Requirements in GB with 9000 IOPS min | Instana Click House Disk 1 | 1536 | 1536
| Instana Casandra Disk 2 | 1536 | 1536
| Instana datastores Disk 3 | 1536 | 1536
| Instana Logs Disk 4 | 1024 | 1024

## IBM VERIFY (SECURITY)
Mentioned below is the BOM for RBI RAMS for Verify component.
D1L2MLL | IBM Security Verify Access Virtual Enterprise Edition User Value Unit License + SW Subscription & Support 12 Months | 8500
E0MCNLL | IBM Security Verify Access Virtual Enterprise Edition User Value Unit Annual SW Subscription & Support Renewal | 8500
E0MCNLL | IBM Security Verify Access Virtual Enterprise Edition User Value Unit Annual SW Subscription & Support Renewal | 8500
E0MCNLL | IBM Security Verify Access Virtual Enterprise Edition User Value Unit Annual SW Subscription & Support Renewal | 8500
E0MCNLL | IBM Security Verify Access Virtual Enterprise Edition User Value Unit Annual SW Subscription & Support Renewal | 8500
E0MCNLL | IBM Security Verify Access Virtual Enterprise Edition User Value Unit Annual SW Subscription & Support Renewal | 8500
E0MCNLL | IBM Security Verify Access Virtual Enterprise Edition User Value Unit Annual SW Subscription & Support Renewal | 8500
E0MCNLL | IBM Security Verify Access Virtual Enterprise Edition User Value Unit Annual SW Subscription & Support Renewal | 8500
X0MCNLL | IBM Security Verify Access Virtual Enterprise Edition User Value Unit Extended Support 12 Months | 8500
X0MCNLL | IBM Security Verify Access Virtual Enterprise Edition User Value Unit Extended Support 12 Months | 8500
X0MCNLL | IBM Security Verify Access Virtual Enterprise Edition User Value Unit Extended Support 12 Months | 8500
We have considered extended support for year 6 to year 8.

## IBM VERIFY_HW_SIZING
per VM
Sl No | Software | Description | Env | Hypevisor/OS | Components | # of VMs | vCPU | RAM (GB) | HDD (GB) | SAN (TB) | Reference | Comments | System Requirement Details
1 | Verify Access | AM Application - Reverse Proxy | PROD | VMWare | IBM Security Verify Access | 4 | 8 | 16 | 500 |  | 1 Core = 39 SPEC CPU2006, Intel Xeon E5-2697 v2, 2.70 GHz | N + 1 (1 Redundant Instance) | Note 1
2 |  | AM Application - Runtime - Policy Server | PROD | VMWare | IBM Security Verify Access | 2 | 4 | 16 | 500 |  | 1 Core = 39 SPEC CPU2006, Intel Xeon E5-2697 v2, 2.70 GHz | N + 1 (1 Redundant Instance) | Note 1
3 |  | AM Application - Federation Appliances | PROD | VMWare | IBM Security Verify Access | 2 | 4 | 16 | 500 |  | 1 Core = 39 SPEC CPU2006, Intel Xeon E5-2697 v2, 2.70 GHz | N + 1 (1 Redundant Instance) | Note 1
4 |  | AM Data - AAC Runtime Database | PROD | RHEL / Windows | IBM Security Directory Suite, IBM DB2 | 2 | 16 | 16 | 200 |  | 1 Core = 39 SPEC CPU2006, Intel Xeon E5-2697 v2, 2.70 GHz | N + 1 (1 Redundant Instance) | Note 2
5 |  | AM Data - LDAP/DB | PROD | RHEL / Windows | IBM Security Directory Suite, IBM DB2 | 2 | 16 | 32 | 300 | 1 | 1 Core = 39 SPEC CPU2006, Intel Xeon E5-2697 v2, 2.70 GHz | N + 1 (1 Redundant Instance) | Note 3
6 | Verify Access | AM Application - Reverse Proxy | DR | VMWare | IBM Security Verify Access | 4 | 8 | 16 | 500 |  | 1 Core = 39 SPEC CPU2006, Intel Xeon E5-2697 v2, 2.70 GHz | N + 1 (1 Redundant Instance) | Note 1
7 |  | AM Application - Runtime - Policy Server | DR | VMWare | IBM Security Verify Access | 2 | 4 | 16 | 500 |  | 1 Core = 39 SPEC CPU2006, Intel Xeon E5-2697 v2, 2.70 GHz | N + 1 (1 Redundant Instance) | Note 1
8 |  | AM Application - Federation Appliances | DR | VMWare | IBM Security Verify Access | 2 | 4 | 16 | 500 |  | 1 Core = 39 SPEC CPU2006, Intel Xeon E5-2697 v2, 2.70 GHz | N + 1 (1 Redundant Instance) | Note 1
9 |  | AM Data - AAC Runtime Database | DR | RHEL / Windows | IBM Security Directory Suite, IBM DB2 | 2 | 16 | 16 | 200 |  | 1 Core = 39 SPEC CPU2006, Intel Xeon E5-2697 v2, 2.70 GHz | N + 1 (1 Redundant Instance) | Note 2
10 |  | AM Data - LDAP/DB | DR | RHEL / Windows | IBM Security Directory Suite, IBM DB2 | 2 | 16 | 32 | 300 | 1 | 1 Core = 39 SPEC CPU2006, Intel Xeon E5-2697 v2, 2.70 GHz | N + 1 (1 Redundant Instance) | Note 3
11 | Verify Access | AM Application - Reverse Proxy, Runtime (Policy Server) | UAT | VMWare | IBM Security Verify Access | 1 | 4 | 8 | 200 |  | 1 Core = 39 SPEC CPU2006, Intel Xeon E5-2697 v2, 2.70 GHz | Minimum Specs | Note 1
12 |  | AM Application - Federation Appliance | UAT | VMWare | IBM Security Verify Access | 1 | 4 | 8 | 200 |  | 1 Core = 39 SPEC CPU2006, Intel Xeon E5-2697 v2, 2.70 GHz | Minimum Specs | Note 1
15 | Common store for Verify access and governance | DB - AM LDAP, AM DB, IGA DB, IGA Integration | UAT | RHEL / Windows | IBM Security Directory Suite, IBM DB2 | 1 | 8 | 16 | 300 |  | 1 Core = 39 SPEC CPU2006, Intel Xeon E5-2697 v2, 2.70 GHz | Minimum Specs | Note 3
16 | Verify Access | AM Application - Reverse Proxy, Runtime (Policy Server) | SIT | VMWare | IBM Security Verify Access | 1 | 4 | 8 | 200 |  | 1 Core = 39 SPEC CPU2006, Intel Xeon E5-2697 v2, 2.70 GHz | Minimum Specs | Note 1
17 |  | AM Application - Federation Appliance | SIT | VMWare | IBM Security Verify Access | 1 | 4 | 8 | 200 |  | 1 Core = 39 SPEC CPU2006, Intel Xeon E5-2697 v2, 2.70 GHz | Minimum Specs | Note 1
20 | Common store for Verify access and governance | DB - AM LDAP, AM DB, IGA DB, IGA Integration | SIT | RHEL / Windows | IBM Security Directory Suite, IBM DB2 | 1 | 8 | 16 | 300 |  | 1 Core = 39 SPEC CPU2006, Intel Xeon E5-2697 v2, 2.70 GHz | Minimum Specs | Note 3
Notes
1 |  | IBM Security Verify Access |  | https://ibm.co/3R8HSlQ
2 |  | IBM Security Directory Suite |  | https://ibm.co/3czlIKH
3 |  | IBM DB2 |  | https://ibm.co/3cyTEHc

## VERIFYAssumption
| AM Assumptions | Value
1 | # of Users [from RAMS RFP] | 12000
2 | # of Authentication per sec (All the users login in 60 mins) | 4
3 | Peak of concurrent sessions (50% Users) | 6000 |  | Required SpecIntRate2006 |  | Reference CPU - Intel Xeon E5-2697 v2, 2.70 GHz
4 | Think Time (in sec) | 15 | Component | 100% CPU Utilized | 70% CPU Utilized | Server SPECrate2006 | No of Cores | SPECrate2006/core | No of cores
5 | # of Tx per sec that touch AM | 400 | ISVA - Reverse Proxy | 622 | 889 | 935 | 24 | 38.9583 | 23
6 | Avg Page Size in KB | 500 | ISVA - Runtime | 35.24 | 51 | 935 | 24 | 38.9583 | 2
7 | Avg Object Size in KB | 50
8 | # of Objects Per Page | 10
9 | Total objects accessed per sec | 4000
10 | MFA per Sec (1 per login) | 4
11 | Federation Flows Per Sec (2 per login) | 8
12 | LDAP - Size of 1 User Obj (KB) | 10
13 | LDAP - Size for all Users (MB) | 117.1875
14 | LDAP - Size (+50 GB) (GB) | 50.1144
15 | HVDB - Size of 1 User Obj (KB) | 100
16 | HVDB - Size for all Users (MB) | 1171.875
17 | HVDB - Size (+100 GB) (GB) | 101.1444
18 | Allow for two online backups | N+(N*2)
19 | Allow for Tx logs that are 50% size of backup | N+((N+0.5N)*2)
20 | LDAP space with 2 backups (GB) (4N) | 200.4578
21 | HVDB space with 2 backups (GB) (4N) | 404.5776
| RP Specint | 622
| Runtime specint | 35.24